SOURCES OF WATER

The sources of water may be of two types:

- Surface sources

- Underground sources.

Surface Sources

The following are the different surface sources of water:

(a) River or stream

(b) Ponds or lakes.

(c) Storage reservoir.

1. River or Stream

Rivers constitute the principal source of water supply. Some rivers are perennial (water available throughout the year) and some are non-perennial or inundation (water available in rainy season only). Perennial rivers should always be selected for the scheme. In case of Inundation Rivers, the weir or barrage or low dam may be constructed to form a storage reservoir from where water may be drawn by intake works.

The quantity of water from the rivers may be reliable, but the quality may not be reliable.

The streams are suitable for small water supply scheme. Here, the quantity of water may not be sufficient.

2. Pond or Lake

The natural or artificial depressions where surface run-off is collected in rainy season are known as ponds or lakes. The catchment area of these sources is small and hence the quantity of water is not reliable. But the quality is reliable and it requires little treatment before use. This source is suitable for small water supply schemes.

3. Storage Reservoir

An artificial lake which is formed by constructing dam across a river valley is termed as storage reservoir. The function of such reservoir may be multipurpose such as irrigation, water supply, hydro-electric power generation, fishery, etc. The quantity and quality are both reliable. So, this source is always preferred for large water supply projects."

Underground Sources

The following are the underground sources of water:

(a) Infiltration well

(b) Infiltration gallery

(c) Springs

(d) Wells

Infiltration Well

For tapping water from sandy river beds, the infiltration wells are sunk in series in sandy river beds. These are constructed or brick masonry with open joints. The water percolates through these joints and gets collected in the wells. The top of the wells are covered with R.C.C. slab having manhole for inspection. Again, the water from the infiltration wells gets collected in a jack well. Then the water from the jack well is pumped out and stored in a storage reservoir. The quality of water is good and it requires no treatment. The quantity of water from this source is suitable for small water supply schemes.

Infiltration Gallery

For tapping water from sandy river beds sometimes horizontal tunnels are constructed in the beds. The walls of the tunnel are constructed with brick work and its top is covered with R.C.C. slab having manholes at some interval. The perforated pipe lines are connected to the tunnel through which the water gets collected inside the tunnel. This tunnel is known as infiltration gallery. The slope of the gallery is such that the water inside the gallery flows towards a well which is known as sump well. Finally, the water from the sump well is pumped out and stored in a storage reservoir. The quality of water is good and it requires no treatment. The quantity of water from this source is suitable for small water supply schemes.

Springs

When underground water reappears at the ground surface by percolation or by underground pressure, then it is known as spring. The water of the spring may contain some type of salts or minerals. So, it should be tested before use. If required, the water should be treated to make it suitable for drinking. This source is suitable for water supply in hilly town.

The following are the different forms of springs:

- Artesian spring

When a pervious layer is sandwiched between two impervious layers in the form of a valley, then the artesian spring comes into existence.

- Gravity spring

The gravity spring comes into existence when the water table rises along the hill slope and the water finds a path (i.e. a pervious zone) on the slope through which it rushes out by gravity.

- Surface spring

When subsoil Surface Spring water forms a storage due to the presence of impervious layer in the form of a valley, then the surface spring comes into existence.

- Well

Wells an artificial hole made into the ground for tapping under- ground water is known as well. Again,

The well may be of two types-open well and tube well.