TYPES OF WATER DEMAND

The following are the various types of water demands of a town or city:

- Domestic Demand

The domestic demand includes the water required in the houses for drinking, cooking, bathing, washing of clothes and utensils, sanitary blocks. Private vehicles, Gardening, Etc. The requirement of water for domestic animals is also included in this demand. In Indian towns or cities. The domestic consumption of water under normal condition is taken as 135 liters/day/capita (as per I.S: 1172-1971). In developed countries. The water demand is very high due to their advanced life style.

- Commercial Demand

It includes the water demand in commercial centers like office buildings, hotels, restaurants, shopping centers, cinema houses, motor garages, laundries, dairies, etc. For this purpose, the demand is assumed as 25 liters to 40 liters. Capita/day.

- Industrial Demand

The industrial demand of water depends on the type of industry in the area. The number and type of industries such as cloth mill, paper mill, and cotton mill, sugar mill, chemical industry, Hume pipe, Rolling mill, etc. should be recorded. The water demand for this purpose is generally assumed as 20% to 25% of the total water demand of the city or town.

- Public Demand

It includes the water requirement for public places such as public sanitary blocks, parks, swimming pools, etc. The water demand for this purpose is considered as 5% of the total consumption of water in the town or city.

- Fire Demand

In case of any outbreak of fire in busy areas of a town or city. Sufficient quantity of water may not be available for fire-fighting from the surface sources such as ponds, ditches, open wells, etc. Again these sources may not exist within busy areas of the town or city. Hence, requisite amount of water for fire-fighting should always be kept stored in underground reservoirs in specific places and fire hydrants should be established in main pipe lines at an interval of about 100 m to 150 m. In the event of fire, the fire brigade pump is connected to the fire hydrant and the jet of water is thrown under high pressure over the fire.

- Compensate Losses

Some portion of water is always wasted due to the following reasons:

(a) Defective pipe joints

(b) Cracks in pipe line

(c) Faulty valves and fittings

(d) Consumers may keep the taps open

(e) Public taps may be damaged

(f) Unauthorized connection

To compensate the water losses due to the above factors, an allowance of about 15% of total water requirement should always be made.

FACTORS AFFECTING THE RATE OF DEMAND

The following are the various factors that affect the rate of demand:

- Climatic Condition

The demand of water is more in summer and it is less in winter. Again, the demand varies according to hot and cool places. The demand is more on a very hot day, and it is less on a cloudy or a rainy day.

- Cost of Water

If water tax is implemented by providing water meter, then the consumption of water will be less. The consumers will control the wastage of water in their own interest. The rate of tax also will affect the demand. Thus, the higher the cost, the lower will be the consumption and vice versa.

- Distribution Pressure

If the distribution pressure is very high, the water consumption will be more. Maximum water is lost unnecessarily when the tap is opened for bathing, face washing, etc.

- Habits of People

Due to advanced life style water ‘consumption is very high in the high value premises. The rate is average in middle class zone and the rate is low in slum areas.

- Industry

Every industry requires much water for operation and maintenance. So, the presence or absence of industry in a town or city affects the rate of demand.

- Quality of Water

The good quality of water increases the rate of demand, whereas the bad quality decreases the rate.

- Sewerage System

The existence of sewerage system in a town or city increases the rate of demand.

- System of Supply

In a continuous system of supply, the consumption of water is more as there is every chance of misuse or wastage of water. So, the rate of demand is more. In an intermittent system of supply the water consumption is less, as water is supplied only in some specific periods of the day. There is little chance of misuse. So, the rate of demand is low.